This is for scale

for AC: use V  (lower)

for DC: use V (upper)

check

DC or AC

note units:

mV or V

COM, VΩ

To measure the voltage ΔV between two points in a circuit:

- Configure the DMM as shown.

- Keep your circuit intact.

- Touch or connect the DMM leads to the two points.